## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
21 St James Court
Consett
County Durham
DH8 5YJ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-10413
DATE OF REPORT: 22/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10413
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 21 St James Court
Consett
County Durham
DH8 5YJ
Carried Out On | 03/09/2021, 22/09/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Low co2 readings fluctuating in and out of tolerance and gas rate again lower than tolerence. Unable to adjust gas valve. New gas valve to be fitted. Left boiler on in mean time. KH Job REF 21-9855

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10413
SECTION 3: Report
Replaced gas valve on boiler as when running in low rate readings were fluctuating between very high and low. Once gas valve had been changed readings stabilised and we're within tolerance.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10413
SECTION 4: Photos
Room / Area
Hallway cupboard
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10413
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10413
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10413
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10413
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes