## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Fines Park Court
Stanley
County Durham
DH9 8BY
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-10415
DATE OF REPORT: 03/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10415
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 2 Fines Park Court
Stanley
County Durham
DH9 8BY
Carried Out On | 03/09/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Boiler requires an additional flue support. Requires new dial for hot water thermostat. KH Job REF 21-10274

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10415
SECTION 3: Report
Fitted 2 new flue supports in loft space. Changed dials in front of boiler as snapped and unable to adjust heating or hot water temperature.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10415
SECTION 4: Photos
Room / Area
Loft space
Description
Notes
New flue supports fitted
Room / Area
Hallway cupboard
Description
Notes
New thermostat dials
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10415
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10415
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10415
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10415
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes