## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
11 Olaman Walk
Peterlee
County Durham
SR8 2EA
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-10419
DATE OF REPORT: 22/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10419
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 11 Olaman Walk
Peterlee
County Durham
SR8 2EA
Carried Out On | 03/09/2021, 22/09/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Pipework leading to fire had big kink in it which would have restricted gas flow to appliance. Cut out and capped until we can return to fix issue. KH Job REF 21-9832

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10419
SECTION 3: Report
Redone pipework behind fire as previous damage to pipework caused fire to be capped.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10419
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10419
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10419
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10419
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10419
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes