## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Castle Court
Communal Area
Annfield Plain
DH9 7SA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10421
DATE OF REPORT: 03/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10421
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Castle Court
Communal Area
Annfield Plain
DH9 7SA
Carried Out On | 03/09/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No heating in communal lounge

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10421
SECTION 3: Report
Boiler and pump needed resetting. Flashing b111 fault and b112. Once both reset the boiler fired. Checked communal area and rads had started to heat up.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10421
SECTION 4: Photos
Room / Area
Plant room
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10421
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10421
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10421
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10421
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes