## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Block 1-16, Chirton House
Headlam Green
Newcastle Upon Tyne
NE6 2TW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10426
DATE OF REPORT: 13/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10426
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Block 1-16, Chirton House
Headlam Green
Newcastle Upon Tyne
NE6 2TW
Carried Out On | 10/09/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
CP15

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10426
SECTION 3: Report
Carried out cp15 boilers require 2 ionisation probes 2 electrodes and a condensate trap and hose

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10426
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10426
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10426
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10426
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10426
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes