## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Emmerson Court
Newcastle upon Tyne
NE27 0NG
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-10516
DATE OF REPORT: 08/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10516
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | Emmerson Court
Newcastle upon Tyne
NE27 0NG
Carried Out On | 03/09/2021 06/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
FALSE

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10516
SECTION 3: Report
Leak temporarily stopped - Attendance will be required on monday to cut out a failed lever isolation valve. 2 hours in hours Dave Aston returned on 06.09.2021 - Picked up materials and returned to site, isolated heating on first floor, drained down, stripped out 22mm isolation valve, replaced with new, replaced pipework and coupling. Refilled and vented system. Left site satisfactory operational.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10516
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10516
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10516
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10516
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10516
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes