## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Chapelville
Front Street
Seaton Burn
NE13 6EH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-10522
DATE OF REPORT: 14/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10522
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Chapelville
Front Street
Seaton Burn
NE13 6EH
Carried Out On | 15/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
AGSC

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10522
SECTION 3: Report
Attend site 0800 to carry out annual maintenance 1 x hamworthy chesil pressurisation unit ASH SYSTEM free off pump now operational no issues, clean out header tank as full of sludge 1 x jet 60 ltr expansion vessel ASH SYSTEM isolated drained and pressure set at 1.5 bar 1 x grundfos magna 3d 40- 120 f250 twin Set ASH pumps no1 no issues no2 showing internal sensor fault 1 x grundfos magna 3d 32- 60 180 twin set ASH SHUNT pumps no issues 2 x hamworthy fleet f125v heating boilers stripped cleaned recommission all ok no issues 1 x hamworthy chesil pressurisation for heating system checked no issue's clean header tank out 1 x jet 300ltr expansion vessel for heating isolate drain and set pressure at 1.5bar 1 x grundfos magna 3d 40-150 f250 twin set heating pumps no 1 no issues no2 showing internal sensor fault 1 x schnider actuator checked operational all ok no issues 1 x schnider m700 actuator operational check ok no issues 2 x lochinvar dhw boilers stripped cleaned and recommission and test no issues 2 x 24 ltr dhw expansion vessels drained recharged to 3.5 bar 1 x grundfos magna 3d 25_60 n 180 domestic pump no issues Faulty parts 1 x grundfos magna 3d 40-120 f250 pump head ASH pumps 1 x grundfos magna 3d 40-150 f250 pump head heating pump Both showing internal sensor fault Offsite 1430 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes