## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
42 Adderlane road
NE42 5HR
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10569
DATE OF REPORT: 07/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10569
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 42 Adderlane road
NE42 5HR
Carried Out On | 07/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Gas works as part of installation 21-10362 Gas cert to be created for works

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10569
SECTION 3: Report
Flat 42 Carrybout a tightness test find 2.5mb drop so check throughout house trace to isolation valve on boiler replace fiber washer and re test 0mb drop Lift floor boards and alter all 22mm pipe to run under kitchen floor instead of above and install new cooker point, carry out a tightness test o mb drop reinstated floor boards Flat 42a (1st floor ) find no gas to kitchen as only gas to boiler which is located in the ground floor laundry room so install a 1st fix cooker point in kitchen into lobby way ready to lift floors so new gas main can be installed at a later date Offsitec1530

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10569
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10569
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10569
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10569
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10569
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes