## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 The Elms
Chester le Street
County Durham
DH2 3DQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10573
DATE OF REPORT: 16/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10573
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 4 The Elms
Chester le Street
County Durham
DH2 3DQ
Carried Out On | 13/09/2021, , 15/12/2021, 16/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
HIU CLEAN

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10573
SECTION 3: Report
Replaced x4 washers on parts of hiu that showed signs of old leaks. Tenants hot water is hot at all outlets but to hot for him at the shower and thermostat side is difficult to turn so requested new shower to be fitted.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10573
SECTION 4: Photos
Room / Area
Bathroom
Description
Notes
Basin temp 43°c
Room / Area
Kitchen
Description
Notes
Kitchen tap temp 45°c
Room / Area
Bathroom
Description
Notes
Shower temp 42.3°c
ZENITH MECHANICAL SERVICES
Report Number | 21-10573
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10573
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10573
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10573
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes