## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
28 The Elms
Chester le Street
County Durham
DH2 3DQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10597
DATE OF REPORT: 17/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10597
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 28 The Elms
Chester le Street
County Durham
DH2 3DQ
Carried Out On | 17/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
HIU CLEAN

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10597
SECTION 3: Report
Replaced x6 washers on unit. As showing signs of leaks. Tested all outlets and all getting consistently hot water.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10597
SECTION 4: Photos
Room / Area
Bathroom
Description
Notes
Basin tap 44c
Room / Area
Bathroom
Description
Notes
Shower temp 44.1c
Room / Area
Kitchen
Description
Notes
Kitchen tap 50c
ZENITH MECHANICAL SERVICES
Report Number | 21-10597
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10597
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10597
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10597
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes