## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Tindale Drive
Flat 32
Fellside Park
NE16 4HX
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10641
DATE OF REPORT: 15/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10641
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Tindale Drive
Flat 32
Fellside Park
NE16 4HX
Carried Out On | 09/09/2021, 15/09/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Flat 32 cannot turn off heating. Tried turning down thermostat but still heating always on. Call Mr Armstrong in advance 07936047805

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10641
SECTION 3: Report
Mid position valve is passing have ordered a replacement and should be in 10/09 Carried out drain down of heating to replace mid position 3 port valve. Refill then remove air locks from main circuit and each radiator job completed

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10641
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10641
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10641
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10641
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10641
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes