## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
18 - 20 Front Street
Castleside
Consett
DH8 9AR
CARRIED OUT ON BEHALF OF
Mr Richard Pinfield
REPORT NUMBER: 21-10652
DATE OF REPORT: 16/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10652
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Mr Richard Pinfield
Address | 2 Hillgarth
Castleside
Consett
County Durham
DH8 9qs
Site Address | 18 - 20 Front Street
Castleside
Consett
DH8 9AR
Carried Out On | 08/09/2021, 16/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Carry out pressure tests

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10652
SECTION 3: Report
CARRIED OUT TESTS AND FOUND THAT A PRESSURE REDUCING VALVE IS REQUIRED TO THE COLD WATER MAINS. Pick up pressure reducing valve up and attend site Isolate and drain down dcw and install a new prv next to the mains cold stop cock, fill and vent all taps and set pressure at 3 bar. Check for water hammer find all ok Parts used 1 x 15mm pressure reducing valve Offsite 1700 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10652
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10652
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10652
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10652
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10652
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes