## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Emmerson Court
Newcastle upon Tyne
NE27 0NG
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-10662
DATE OF REPORT: 20/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10662
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | Emmerson Court
Newcastle upon Tyne
NE27 0NG
Carried Out On | 06/09/2021, 09/09/2021, 10/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Investigate a boiler fault on boiler no2 at emmerson court please.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10662
SECTION 3: Report
Attend site for boiler in fault Gain access to plant room and find boiler off investigate and find flue gas sensor in open circuit, had to order part from Spencer at Border heating will return to sire to carry out the repair Part on order Offsite - fow 10/09/21 pick up parts from wholesalers and travel to site Strip boiler 3 down to gain access to flue temp censor and remove , fit new and commission boiler High fire Co2 9% Co 101ppm Ratio 0009 Low fire Co2 9.1% Co 11ppm Ratio 0001 All ok and left in operational mode Parts used 1 x hamworthy fleet flue temp censor Complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10662
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10662
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10662
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10662
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10662
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes