## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
24 Weavers Court
Swordy Drive
Alnwick
NE66 1SZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10664
DATE OF REPORT: 29/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10664
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 24 Weavers Court
Swordy Drive
Alnwick
NE66 1SZ
Carried Out On | 29/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Heating in bathroom is not working. Resident has reported that the heating in her bathroom is not working. She has the hallway thermostat set correctly so thinks this may have broken. Please could you ask Zenith Mechanical to call out to assess. Thanks

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10664
SECTION 3: Report
Attend site 1415 for no heating in the bathroom Trace fault to bathroom room stat, using sites own stock replace the bathroom stat, test every component on the heating and manifold everything is working now no issues Parts used 1 danfoss room stat sites own Offsite 1500 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10664
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10664
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10664
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10664
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10664
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes