## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
The Manors
Adderlane Road
West Wylam
NE42 5ET
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10675
DATE OF REPORT: 14/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10675
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | The Manors
Adderlane Road
West Wylam
NE42 5ET
Carried Out On | 14/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Heating in communal areas is extremely hot especially in the kitchen part of the day room but also in other communal areas. Zenith to attend to investigate.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10675
SECTION 3: Report
Attend site 1515 for over heating issue Gain access to site and find manifold which feeds the area with issues, find the day room actuator x3 all passing when closed. Using 3 x actuators from the sites own stock, isolate and strip out the faulty 3 actuators and replace with the new actuators, recommission and test all ok . Check operation of all the components all ok. Parts used all from sites/ karbons own stock Offsite 1700 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10675
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10675
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10675
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10675
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10675
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes