## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
162 Albert road
Jarrow
Tyne and Wear
NE32 5RR
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10681
DATE OF REPORT: 10/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10681
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 162 Albert road
Jarrow
Tyne and Wear
NE32 5RR
Carried Out On | 10/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Boiler needs resetting after power cut. Key for DB cupboard is usually with tenant at Flat Number 1. Reported by tenants of No 4 & 5.Job Description

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10681
SECTION 3: Report
Attend site 1545 for no heating Had to wait onsite for access codes from karbon the key safe is outside opposite the plantroom the code is 1067 . Once inside reset the gas detection unit and reset the boilers wait until all upmto temperature all ok Offsite 1730 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10681
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10681
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10681
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10681
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10681
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes