## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Brownsea Place
Sheriff Hill
Gateshead
NE9 5PZ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-10682
DATE OF REPORT: 13/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10682
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Brownsea Place
Sheriff Hill
Gateshead
NE9 5PZ
Carried Out On | 13/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Contractor fitting shower at 17 Brownsea have found that two main water valves in the adjoining riser/pipework cupboard are leaking/sticking/corroded and unable to be used for original function. This is due to old age and use. They advised an immediate replacement of these valves. The rest of building appears to have similar types of issues so may be worth checking these.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10682
SECTION 3: Report
Attend site 0800 for leaking /sticking wheel head isolation valves on heating circuit Gain access main flow and flat 17 flow and return isolation valves leaking and sticking. Work valves free and re gland , test operation of valves to ensure they isolate heating as intended all found to be good no leaks now . Clean up valves leave site with all valves operating and leak free To replace these valves would require a full site drain down as they are the isolation valves , they are on 1" steel pipe which is screwed , access is is limited and other services may be required to strip out as service duct is only 12" wide and all the pipework is fitted at the back of the riser Offsite 0945 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10682
SECTION 4: Photos
Room / Area
Description
Notes
1" and 3/4" gate valves freed off and re glanded now fully operational and leak free
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10682
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10682
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10682
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10682
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes