## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
19 Aged Miners Homes
Windy nook
Gateshead
NE10 9RN
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-10720
DATE OF REPORT: 11/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10720
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 19 Aged Miners Homes
Windy nook
Gateshead
NE10 9RN
Carried Out On | 11/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No hearing / hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10720
SECTION 3: Report
Attend sight at 12:00pm find boiler has no pressure and tennant informed me this has happened three times in the last few months so check all pipe work and radiators find kitchen radiator leaking so drain down heating system strip out valve and replace for new pegler trv fill and vent system check for leaks all okay left heating all working Parts used 1x 8mm pegler trv van stock £25 Off sight 13:30

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10720
SECTION 4: Photos
Room / Area
Description
Notes
New peglar trv fitted
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10720
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10720
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10720
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10720
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes