## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Murray Court
Chester Le Street
Durham
Dh2 2UD
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-10725
DATE OF REPORT: 12/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10725
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 1 Murray Court
Chester Le Street
Durham
Dh2 2UD
Carried Out On | 11/09/2021 12/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No Hot Water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10725
SECTION 3: Report
Attend site 0900 for no hot water Carry out tests find heating all ok but when hot tap opened there is in demand on boiler carry our further investigation and find flow switch to be faulty Boiler is a vailliant ecofit sustain New flow switch required Offsite 1020 fow

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10725
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10725
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10725
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10725
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10725
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes