## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
26 Lime Park
Brandon
Durham
DH7 8QD
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-10726
DATE OF REPORT: 13/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10726
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 26 Lime Park
Brandon
Durham
DH7 8QD
Carried Out On | 11/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Leak within bathroom

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10726
SECTION 3: Report
Attend site 2300 Find cold fill pipework to toilet leaking isolate and drain down , replace fiber washer to toilet fill ad reassemble and test, check for leaks all ok. Parts used 1 x tap connecter washer Offsit 0000 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10726
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10726
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10726
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10726
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10726
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes