## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
18 Holborn House
South Shields
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10727
DATE OF REPORT: 16/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10727
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 18 Holborn House
South Shields
NE33 1EA
Carried Out On | 16/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Job Description - Pump rattling and burning in flat 18, Communal block potentially off also.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10727
SECTION 3: Report
Attend site for noisey pump and burning smell investigate and find pump on HIU unit is leaking from the body and has blown the units fuse , unable to repair the leak as its from the main pump seal and a new pump is required, clean up the water and isolate yjr flow and return until the new pump is installed Mhs hiu pump required Off site 1330 16.09.21 attend site 0800, drain heating system with a wet vac as thers no drain offs and strip out faulty pump. Install new pump , fill system and fit new 2.5ma fuse as this blew due to Leak, fill system and vent all rads test all ok tennant now has heating and hot water Parts used Mhs pump offsite 1030 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10727
SECTION 4: Photos
Room / Area
Description
Notes
Pump leaking from the main body seal not repairable new pump required
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10727
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10727
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10727
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10727
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes