## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Holborn House
Commercial Road
South Shields
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10752
DATE OF REPORT: 16/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10752
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 9 Holborn House
Commercial Road
South Shields
NE33 1EA
Carried Out On | 16/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Renew leaking danfoss 2 port zone valve in sink unit

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10752
SECTION 3: Report
Attend site change out a leaking 2 port valve find contractors have boxed in isolation valves so have to trace these and cut out boxing in to allow access once isolated the heating was drained down. Strip out 2 port valve under sink and replace with honeywell 2 port valve from van stock wire up and commission and test all Kitchen tap leaking down on to both 2 ports I've contacted karbon who are going to attend as an emergency as thes valves are 230v Parts used 1 honeywell 2 port valve £95 van stock Offsite 1245 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10752
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10752
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10752
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10752
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10752
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes