## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
15 whitwell Court
Gilesgate
Durham
DH1 1QA
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-10786
DATE OF REPORT: 15/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10786
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 15 whitwell Court
Gilesgate
Durham
DH1 1QA
Carried Out On | 14/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Small leak from combi boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10786
SECTION 3: Report
Attend site 1930 Find combi boiler leaking from the condensate pipe from the heat exchanger to the trap ( baxi duotec) Boiler combustion chamber full . The condensate pipe completely corroded through. Also find the over heat stat cracked. I haven't got these parts on the van so isolated the boiler electrics and by the gas. Parts required Baxi duotec 28 condensate pipe " overheat stat Offsite 2030

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10786
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10786
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10786
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10786
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10786
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes