## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 - 46 The Manors
Aderlane Road
NE42 5ET
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-10787
DATE OF REPORT: 16/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10787
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 - 46 The Manors
Aderlane Road
NE42 5ET
Carried Out On | 15/09/2021, 16/09/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
No Hot Water At Property

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10787
SECTION 3: Report
Traced no hot water issue to a faulty Siemens sqs65.5 actuator. This is now obsolete and replacement is SAS61.53 ELECTROMOTORIC ACTUATOR 24ACDC WITH SPRING RETURN that is to be ordered. A temporary repair has been done to give heat to the calorifier this could also turn out to be a circulation problem too as got heat going in to calorifier but not return. This is a tank In tank calorifier and the system water is black with magnetite Carried out repairs to 2 Siemens 3 port valves on the primary hot water to 2 acv calorifiers. Turned off all others services to make sure the remaining boilers could cope to heat up hot water then reinstated when water temperature reached 70 degrees

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10787
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10787
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10787
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10787
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10787
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes