## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
110 Fines Park
Annfield Plain
Stanley
DH9 8QZ
CARRIED OUT ON BEHALF OF
G Emerson
REPORT NUMBER: 21-10798
DATE OF REPORT: 04/04/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10798
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | G Emerson
Address | 8 Seagent Place
The Woodlands
Shotley Bridge
Consett
DH8 0TR
Site Address | 110 Fines Park
Annfield Plain
Stanley
DH9 8QZ
Carried Out On | 21/09/2021, 23/09/2021, 04/04/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Please check toilet leak at the bottom of the toilet

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10798
SECTION 3: Report
Leak from pan connector at back of toilet when toilet is flushed. New 90° pan connector needed. 23/09 knocked at front and back door and rang telephone number no answer. Removed a an connector and replaced with new one

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10798
SECTION 4: Photos
Room / Area
Toilet
Description
Notes
Leak from pan connector
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10798
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10798
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10798
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10798
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes