## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Aged Miners Homes
Peacehaven
Ferryhill
DL17 8BH
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-10927
DATE OF REPORT: 04/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-10927
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 4 Aged Miners Homes
Peacehaven
Ferryhill
DL17 8BH
Carried Out On | 04/10/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Annual Gas Safety Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-10927
SECTION 3: Report
Boiler reaching temperature on DHW and Boiler cutting off not allowing full extent of hot water. Potential blockage on plate heat exchanger causing Boiler to over heat. Clean/replace plate heat exchanger. New plate washers would be required when this repair is carried out. How water was running at around 40°c but cutting out and dropping temperature.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-10927
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10927
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10927
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10927
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-10927
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes