## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Fines Park Court
Annfield Plain
Stanley
DH9 8PY
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-11126
DATE OF REPORT: 04/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11126
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 9 Fines Park Court
Annfield Plain
Stanley
DH9 8PY
Carried Out On | 20/09/2021, 04/10/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Hot water has been off since servicing done on 16/09/2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11126
SECTION 3: Report
Overly complex external controls for a pensioner, had to reset and topped pressure in loft then dhw came on. Cylinder set to auto and only at 5°C. Adjusted to manual and set at 60°c. System is overly complicated for pensioner Tenant and he just turns boiler on and off at spur whem he wants hot water. Once adjusted solved issue.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes