## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
The Orchard
South Preston Grove
North Sheilds
NE29 0HB
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-11128
DATE OF REPORT: 29/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11128
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | The Orchard
South Preston Grove
North Sheilds
NE29 0HB
Carried Out On | 21/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
6 Monthly Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11128
SECTION 3: Report
Attend 1200 to carry out a 6 month mechanical check 3 x hamworthy fleet f 100 v heating boilers operational check all ok no issues 1 x magna 3 d 40-100 f 220 twin set heating pumps both ok no issues 1 x schnider m800 2 " three port and actuator checked operational ok no issues 1 x hamworthy chesil pressurisation unit operational check all ok no issues 1 x reflex 200ltr expansion vessel isolated drained and pressure checked 1.5 bar all ok 1 x magna 32-120 f220 twin set primary pumps both checked all ok no issues 2 x hamworthy ps 300 caloifers isolated drained and checked 9k no issues (anodes needed next year) prv pipework not piped up from the cold water prv 1 x magna 1 25-80n 180 dhw pump operational check no issues all ok 2 x hamworthy 25ltr domestic hot water expansion vessels isolated and drained and recharged to 3.5 bar All pipework in good condition All lagging in good condition Boiler flues in good condition

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11128
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11128
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11128
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11128
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11128
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes