## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Feetham Court
Forest Hall
Newcastle Upon Tyne
NE12 9QJ
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-11131
DATE OF REPORT: 14/11/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11131
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Feetham Court
Forest Hall
Newcastle Upon Tyne
NE12 9QJ
Carried Out On | 14/10/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
6 Monthly Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11131
SECTION 3: Report
Attend to carry out 6 month check 1 x remeha quinta 115 ok no issues 1 x Remeha Quinta 115 isolated new gas valve needed 1 x Remeha Quinta ace 115 ok no issues 1 x boss midi 125d pressurisation unit ok no issues 1 x 400ltr reflex expansion vessel isolated drained and pressure set at 1.5 bar 1 x mge90sb2 twin set heating pumps all ok no issues 1 x mge90sa2 twin set primary pumps all ok no issues 2 x 35 dhw expansion vessels isolated drained and pressure set at 3.5 bar 2 x Remeha 1000 indirect calorfiers all ok no issues 1 x grundfos dhw pump ok no issues All pipework and lagging in good condition

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11131
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11131
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11131
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11131
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11131
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes