## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Emmerson Court
Shiremoor
Newcastle Upon Tyne
NE27 0NG
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-11133
DATE OF REPORT: 11/11/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11133
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Emmerson Court
Shiremoor
Newcastle Upon Tyne
NE27 0NG
Carried Out On | 15/10/2021, 29/10/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
6 Monthly Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11133
SECTION 3: Report
2 x Hamworthy Fleet boilers ok 1x secondary pump ok 2 x heating pumps ok Primary pumps ok 1 x Pressurisation unit ok Heating expansion vessel isolated drained and recharged to 4 bar 2 x calorifiers ok Pipe work ok Lagging ok Condensation water leaking from flue and condensate pipe 2 x cold water expansion vessel ok

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11133
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11133
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11133
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11133
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11133
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes