## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Derwentdale Court
1-32 Derwentdale Court
Blackhill
DH8 8PY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11138
DATE OF REPORT: 13/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11138
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Derwentdale Court
1-32 Derwentdale Court
Blackhill
DH8 8PY
Carried Out On | 05/10/2021, , 13/10/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
AGSC

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11138
SECTION 3: Report
Attend site 0800 - 1030 to carry out ppm not finished Onsite 1500 Service 2 x Remeha gas110 eco all ok no issues 1 x grundfos ups d50-60/2 twin set heating pumps all ok no issues 1 x grundfos ups d65-120f twinset primary pump set ok no issues 1 x boss 200ltr heating expansion vessel isolated drained and pressure set at 1.5 bar 1 x boss 80ltr dhw expansion vessel drained and pressure set at 3.5 bar 1 x 1 x boss pressurisation unit all ok no issues 1 x grundfos dhw pump all ok no issues All pipework all ok no leaks Offsite 1700 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11138
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11138
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11138
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11138
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11138
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes