## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Magdalene Court
1-20 Magdalene Court
Consett
DH8 6RF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11139
DATE OF REPORT: 19/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11139
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Magdalene Court
1-20 Magdalene Court
Consett
DH8 6RF
Carried Out On | 19/10/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
AGSC

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11139
SECTION 3: Report
Attend site to carry out ppm Initial gas tightness test failed due to rubber in meter union failed, replace and test all ok Replace burner gasket with van stock 1 x Remeha Quinta ace 65 boiler strippedcand gaskets replace from van stock all ok no issues service mode reset 1 x 60 ltr expansion vessel isolated drained and pressure set at 1.5bar 1 x fluid automation dse32.60-e1 twinset vt pumps ok no issues 1 x wilo yonos maxo - d 32 twin set primary pumps no issues 2 x fluid automation b20 dhw pumps poor condition advise changing 1 zilmet 24 ltr dhw expansion vessel drained and found to be faulty new vessel needed and pipe work supported Parts required New 24 ltr expansion vessel Pipework ro vessel needs supported 22mm copper

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11139
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11139
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11139
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11139
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11139
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes