## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Derwentdale Court
Blackhill
Consett
DH8 8PY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11161
DATE OF REPORT: 22/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11161
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 5 Derwentdale Court
Blackhill
Consett
DH8 8PY
Carried Out On | 22/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Alterations for Derwentdale Court adaptations

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11161
SECTION 3: Report
Attend site 1400 Attended for no isolation on heating pipes in flat 5 external contractor requires isolation putting into pipe work so new towel radiator can be fitted in bathroom pipe work hot on arrival so unable to freeze so had to isolate plant room and drain down heating in flat until a manageable flow can be achieved so pipe work could cut and isolation pipes could be installed old parts and materials were supplied by sub contractor Filled vented test all okay left site at 1700.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11161
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11161
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11161
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11161
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11161
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes