## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Greengates House
Amos Drive
Annfield Plain
DH9 7YE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11181
DATE OF REPORT: 01/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11181
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Greengates House
Amos Drive
Annfield Plain
DH9 7YE
Carried Out On | 28/09/2021, , 01/10/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Check temp of water from taps and shower see Janet for details this ticket replaces job issued 13/8/2021 when work was carried out a0946973

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11181
SECTION 3: Report
Attend site for dhw temps Find some taps warm others are only hot after being run for 2-3mins , gain access to plantroon and trace to dhw return pump faulty new pump needed Offsite 11.30 fow 01/10/21 1500 Pick pump up from wholesalers and attend site Isolate pump and strip out, swap pump for new gtrudfos unit and fill and vent test all ok commission and test all working ok Offsite 1630 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11181
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11181
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11181
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11181
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11181
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes