## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 Holborn House
Commercial Road
South Shields
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11184
DATE OF REPORT: 23/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11184
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 14 Holborn House
Commercial Road
South Shields
NE33 1EA
Carried Out On | 23/09/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
No heating to the property from communal boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11184
SECTION 3: Report
Found quite a few issues. Valve inside HIU was controlling heating was isolated and laid in base. Also an actuator in kitchen cupboard was jammed shut. I straightened up the lever. Also they weren’t switching on the master controller for the heating

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11184
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11184
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11184
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11184
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11184
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes