## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
67 Old Custom House
Borough Road
North Sheilds
Ne29 6LH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11202
DATE OF REPORT: 24/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11202
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 67 Old Custom House
Borough Road
North Sheilds
Ne29 6LH
Carried Out On | 24/09/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No heating or hot water - Mr Patterson no5 reported that there is no heating or hot water for the block - communal heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11202
SECTION 3: Report
Boiler going to E133 fault due to failed HSI leads on boilers 1 and 3. Replaced HSI leads on both boilers and both fired first time.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11202
SECTION 4: Photos
Room / Area
Plant room
Description
Notes
New HSI leads
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11202
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11202
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11202
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11202
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes