## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
6 Whitwell Court
Durham
DH1 1QA
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-11232
DATE OF REPORT: 26/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11232
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 6 Whitwell Court
Durham
DH1 1QA
Carried Out On | 26/09/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Electric Shower not working - Electrician attended on 25/09/2021 (21-11231) and informed JH that a plumber is required to repair damaged section of pipe.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11232
SECTION 3: Report
No water coming through electric shower. Water supply and reset LED lit up on front of shower. Tenant thought this could have something to do with new boiler install but has been used between when the boiler was fitted and when it went off yesterday. Tried resetting sequence for shower but made no difference. Read through MIs and suggested that it could be a circuit board issue. If this is the case then I would recommend a new shower to be fitted. PCB part number for shower is 1643.106. Shower is a Mira Advance ATL Thermostatic.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11232
SECTION 4: Photos
Room / Area
Bathroom
Description
Notes
Shower unit
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11232
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11232
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11232
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11232
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes