## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Burn Promenade
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-11234
DATE OF REPORT: 28/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11234
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Burn Promenade
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
Carried Out On | 28/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Commercial boiler fault affecting number of flats at scheme - hot water not hot enough.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11234
SECTION 3: Report
Attend site 1200 for hot water temps Check temperature from multiple hot taps and find an average of 41° gain access to plantroom and find temperature from boilers ok and stored in the calorfiers at 62°. Investigate and find Horne mixing valve fron the calorfiers not mixing correctly, isolate and drain dhw circuit and strip out the Horne valve and find the dhw inlet full of limescale clean out and reassemble, and test wait until dhw temp out of Horne valve is 60°. Test from paps find the average now 55° (the baths are further mixed down to 42°) Offsite 1400 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11234
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11234
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11234
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11234
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11234
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes