## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
29 Lynwood House
durham Road
Lanchester
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11252
DATE OF REPORT: 06/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11252
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 29 Lynwood House
durham Road
Lanchester
DH7 0LS
Carried Out On | 04/10/2021, 06/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No heating in bathroom and hallway (underfloor).

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11252
SECTION 3: Report
Requires 4 set of uponor UFH cartridges And 2 t35 room thermostat New stats not working with the system, like for like stats ended. Uponor stat required only issue with vurrent stats are that the dual falls off. So just dial that needs replacing. UFH working as should be. Cartridges dropping into place when requested from stats. No issues. KH 6/12/2021

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11252
SECTION 4: Photos
Room / Area
Lounge and hall
Description
Notes
The stat replacement that we need
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11252
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11252
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11252
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11252
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes