## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Morrison Busty
Annfield Plain
Stanley
CARRIED OUT ON BEHALF OF
Ivegate
REPORT NUMBER: 21-11277
DATE OF REPORT: 28/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11277
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Ivegate
Address | Unit 3A
Spence Mills
Mill Lane
Leeds
LS13 3HE
Site Address | Morrison Busty
Annfield Plain
Stanley
Carried Out On | 28/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Strip out all ductwork and pipework in building

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11277
SECTION 3: Report
Attend site to prepare a quote to isolate and purge gas supply and drain heating and hot water R j utilities to cap gas out site of building Cap 2" pipework in boiler room Strip out 2" flanged rotary gas meter ( leave on site) 4 x 2" steel pipework 20 x 11/2" steel pipework 20 x 3/4" steel pipework 1 x wall hung heat only boiler 1 x rinnari dhw boiler 1 x high level heater Isolate and drain down heating boiler Isolate and drain down dhw boiler 2 days 2 men Hire of purge pump £65 for fittings Offsite 0930

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11277
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11277
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11277
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11277
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11277
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes