## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
The Elms
Chester Le Street
DH2 3DQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11297
DATE OF REPORT: 30/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11297
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | The Elms
Chester Le Street
DH2 3DQ
Carried Out On | 28/09/2021, 30/09/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
No hot water throughout site - Leaking pipe in the plant room causing low pressure

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11297
SECTION 3: Report
Found a 2 1/2” primary circulation pipe has gone on a weld and leaking causing the whole system to shut down. Re pressurised system manually as pressurisation unit trips out trying to refill. Recommend recurring visits till repair is carried out Drain plant room and replace section of pipe work

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11297
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11297
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11297
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11297
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11297
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes