## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
24 Chapelville
Front Street
Seaton Burn
NE13 6EH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-11328
DATE OF REPORT: 28/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11328
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | 24 Chapelville
Front Street
Seaton Burn
NE13 6EH
Carried Out On | 28/09/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
no hot water communal boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11328
SECTION 3: Report
Checked HWS flow in cupboard on entry to property, checked hot water feed at pipework under both basin and kitchen taps and all feeds were cold to touch. HWS return in cupboard was also cold on pipework. Advised Tenant of issue in the building and that we have had an engineer on site today and tomorrow. If tomorrow we need to gain access to property Tenant says he goes out at 12:00 but says its OK to gain access from warden to check.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11328
SECTION 4: Photos
Room / Area
Hallway cupboard
Description
Notes
Pipework
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11328
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11328
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11328
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11328
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes