## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 tynedale Grange
Haltwhistle
NE49 9LF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11330
DATE OF REPORT: 28/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11330
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 9 tynedale Grange
Haltwhistle
NE49 9LF
Carried Out On | 28/09/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
NO HEATING OR HOT WATER

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11330
SECTION 3: Report
Gas safety circuit had tripped and needed resetting. Once reset boilers fired but kept going to ignition lockout. When checking BMS boilers were switched into the off position when switched to manual both boilers fired fully. Noticed leak on boiler number 1s flue.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11330
SECTION 4: Photos
Room / Area
Plant room
Description
Notes
Boilers fired.
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11330
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11330
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11330
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11330
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes