## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Flat 12, Northfields Close
North View
Newcastle Upon Tyne
NE6 2SG
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11336
DATE OF REPORT: 29/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11336
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Flat 12, Northfields Close
North View
Newcastle Upon Tyne
NE6 2SG
Carried Out On | 29/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Assisting Rhys Brown in isolating water supply

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11336
SECTION 3: Report
Attend site 1145 to assist rhys as unable to isolate water to toilet Attemp to freeze pipework but heating is on full and pipework wouldn't freeze Trace pipework and find all toilets and bathroom sink cold water fed from a tank in the loft situated in the guest room loft ( we had to wait until the manager was on site to give us access to guest room) Once the tank was isolated the pipework was drained and the new isolation valve fitted Parts used 2 x polar freeze spray 1 x 22mm quarter turn isolation valve I left site 1330

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11336
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11336
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11336
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11336
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11336
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes