## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
16 Bay Court
Ushaw Moor
County Durham
DH7 7RU
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-11339
DATE OF REPORT: 29/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11339
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 16 Bay Court
Ushaw Moor
County Durham
DH7 7RU
Carried Out On | 29/09/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No heating or hot water in property following service yesterday - please attend and assess issue

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11339
SECTION 3: Report
On arrival Tenant says that there is no problem with the hot water just the heating. Checked thermostat and there was no demand demand for the heating. When demand was placed boiler fired first time. Switched between heating and hot water to make sure boiler would fire back up. No issues. Set room thermostat on manual at room 23 °C as Requested by the tenant.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11339
SECTION 4: Photos
Room / Area
Hallway cupboard
Description
Notes
Thermostat
Room / Area
Hallway cupboard
Description
Notes
Boiler with ignition light on.
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11339
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11339
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11339
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11339
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes