## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Flat 21 - Tindale Drive
Fellside Park
Whickham
NE16 4HX
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-11349
DATE OF REPORT: 30/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11349
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Flat 21 - Tindale Drive
Fellside Park
Whickham
NE16 4HX
Carried Out On | 30/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Tenant has lukewarm water - needs to be looked at Hard of hearing tenant so please knock loudly - Door entry code 1980 Keys for boiler & gas house are in the 3rd kitchen cupboard in a bowl

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11349
SECTION 3: Report
Attend site 1530 for dhw temperature to low On arrival check plant room find one of the only 2 working boilers locked out so reset all ok, check calorfier and find 3 port actuato stuck in the mid position reset and watch it close and then motor to fully open wait until water is up to temp. Offsite 1645 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11349
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11349
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11349
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11349
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11349
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes