## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Chapelville
Front Street
Seaton Burn
NE13 6EH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-11384
DATE OF REPORT: 18/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11384
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Chapelville
Front Street
Seaton Burn
NE13 6EH
Carried Out On | 15/09/2021, 07/10/2021 08/10/2021 08/10/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
ASHP Pumps No 1 - Trip Red Light ASHP Pumps Water Flow Failed Red Light ASHP Fault Light

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11384
SECTION 3: Report
Faulty parts 1 x grundfos magna 3d 40-120 f250 pump head ASH pumps 1 x grundfos magna 3d 40-150 f250 pump head heating pump Both showing internal sensor fault Only time spent on this job was approximately 45 minutes as was on site carrying out PPM 08/10/21 Pick up parts from wholesalers travel to site Isolate and drain air source heating circuits and change pump sensors on no 2 heating pump and no 2 shunt pump, once changed swap out the auto air vents on both pump sets commission and test all ok Complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11384
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11384
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11384
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11384
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11384
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes