## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Preston Court
Roseberry Avenue
North Sheilds
NE29 9PG
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-11385
DATE OF REPORT: 13/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11385
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Preston Court
Roseberry Avenue
North Sheilds
NE29 9PG
Carried Out On | 21/09/2021, 13/10/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Hot shut off valve is bypassing, it won't shut off and the hot just trickles out.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11385
SECTION 3: Report
Found issue wasn’t broken valves.or passing valves had to remove all taps tmvs and shower to unblock as all were full of debris and scale. All tested and working now was supervised by carer

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes