## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Villa Real Court
Consett
Co Duham
DH8 6DQ
CARRIED OUT ON BEHALF OF
Mr Collin Kay
REPORT NUMBER: 21-11388
DATE OF REPORT: 04/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11388
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Mr Collin Kay
Address | 5 Villa Real Court
Consett
County Durham
DH8 6DQ
Site Address | 5 Villa Real Court
Consett
Co Duham
DH8 6DQ
Carried Out On | 01/10/2021, 04/10/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No heating or hot water in property

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11388
SECTION 3: Report
Pressure on boiler was borderline between boiler working and not that's why boiler was intermittently working. Topped up boiler pressure and ran both heating and hot water both working fine. Advised Tenant to monitor pressure and if drops again new low water pressure switch could be required (part number 87161051110). Revisited property to discuss boiler options but as boiler has been running fine since visit tenant doesn't want to change part yet.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11388
SECTION 4: Photos
Room / Area
Hallway cupboard
Description
Notes
Boiler ignition light on
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11388
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11388
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11388
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11388
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes