## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Preston Court
Roseberry Avenue
North Sheilds
NE29 9PG
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-11484
DATE OF REPORT: 01/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-11484
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Preston Court
Roseberry Avenue
North Sheilds
NE29 9PG
Carried Out On | 01/10/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Some residents are complaining of no heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-11484
SECTION 3: Report
Attend site 1200 for no heating Gain access to plant room and find VT circuit actuator not connected and the three port valve spindle has been manually held open with cable ties and these have snapped. I've used some rope from the plant room to tie open the spindle and wait until all up to temperature The actuator is a Schneider m700 -s2 - srsu this needs replacing Offsite 1330 multiphase as aware of this

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-11484
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11484
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11484
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11484
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-11484
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes